Devices

| Device Name | Protocol | Status | Port | Latency (ms) | Auto Reconnect | Last Error |
| --- | --- | --- | --- | --- | --- | --- |
| MFM 20 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| Lighting | modbus | connected | 502 | 21 | 1 |  |
| MFM 10 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| Nexsine Production | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 3 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 11 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| PLC 1 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 4 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| Nexsine Incomer | modbus | connected | 502 | 16 | 1 |  |
| MFM 12 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| Modbus Device TEST | modbus | connected | 5020 | 16 | 1 |  |
| Server 1 | opcua | reconnecting | 4840 | 0 | 1 | [Errno -2] Name or service not known |
| MFM 5 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 13 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 17 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| SN Production | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 6 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| Device 1 | modbus | connected | 5020 | 38 | 1 |  |
| MFM 14 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| SN Incomer | modbus | connected | 502 | 33 | 1 |  |
| MFM 18 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |

| Device Name | Protocol | Status | Port | Latency (ms) | Auto Reconnect | Last Error |
| --- | --- | --- | --- | --- | --- | --- |
| MFM 7 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| Spare | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 15 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 19 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 8 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| APFC Incomer | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 16 | modbus | reconnecting | 502 | 0 | 1 |  |
| MFM 2 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 9 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| Busduct Testing Machine | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |
| MFM 1 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED |