## Report
Device Name | Protocol | Status | Port | Latency (ms) | Auto Reconnect | Last Error
MFM 20 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
Lighting | modbus | connected | 502 | 21 | 1
MFM 10 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
Nexsine Production | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 3 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 11 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
PLC 1 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 4 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
Nexsine Incomer | modbus | connected | 502 | 16 | 1
MFM 12 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
Modbus Device TEST | modbus | connected | 5020 | 16 | 1
Server 1 | opcua | reconnecting | 4840 | 0 | 1 | [Errno -2] Name or service not known
MFM 5 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 13 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 17 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
SN Production | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 6 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
Device 1 | modbus | connected | 5020 | 38 | 1
MFM 14 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
SN Incomer | modbus | connected | 502 | 33 | 1
MFM 18 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 7 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
Spare | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 15 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 19 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 8 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
APFC Incomer | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 16 | modbus | reconnecting | 502 | 0 | 1
MFM 2 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 9 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
Busduct Testing Machine | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED
MFM 1 | modbus | reconnecting | 502 | 0 | 1 | TCP_CONNECT_FAILED