## Report
ID | Name | Protocol | Status | Latency MS | Auto Reconnect | Unit ID | Port | Gateway ID
1 | MFM 20 | modbus | reconnecting | 0 | 1 | 21 | 502 | gw_1771075949405
2 | Lighting | modbus | connected | 21 | 1 | 9 | 502 | gw_1771158928169
3 | MFM 10 | modbus | reconnecting | 0 | 1 | 11 | 502 | gw_1771051169012
4 | Nexsine Production | modbus | reconnecting | 0 | 1 | 4 | 502 | gw_1771148626826
5 | MFM 3 | modbus | reconnecting | 0 | 1 | 4 | 502 | gw_1771051169012
6 | MFM 11 | modbus | reconnecting | 0 | 1 | 12 | 502 | gw_1771051169012
7 | PLC 1 | modbus | reconnecting | 0 | 1 | 1 | 502 | gw_1771051169005
8 | MFM 4 | modbus | reconnecting | 0 | 1 | 5 | 502 | gw_1771051169012
9 | Nexsine Incomer | modbus | connected | 16 | 1 | 11 | 502 | gw_1771158928169
10 | MFM 12 | modbus | reconnecting | 0 | 1 | 13 | 502 | gw_1771051169012
11 | Modbus Device TEST | modbus | connected | 16 | 1 | 1 | 5020 | gw_1771012391581
12 | Server 1 | opcua | reconnecting | 0 | 1 | 0 | 4840 | gw_1771004131086
13 | MFM 5 | modbus | reconnecting | 0 | 1 | 6 | 502 | gw_1771051169012
14 | MFM 13 | modbus | reconnecting | 0 | 1 | 14 | 502 | gw_1771051169012
15 | MFM 17 | modbus | reconnecting | 0 | 1 | 18 | 502 | gw_1771051169012
16 | SN Production | modbus | reconnecting | 0 | 1 | 6 | 502 | gw_1771148626826
17 | MFM 6 | modbus | reconnecting | 0 | 1 | 7 | 502 | gw_1771051169012
18 | Device 1 | modbus | connected | 38 | 1 | 1 | 5020 | gw_1771148626826
19 | MFM 14 | modbus | reconnecting | 0 | 1 | 15 | 502 | gw_1771051169012
20 | SN Incomer | modbus | connected | 33 | 1 | 12 | 502 | gw_1771158928169
21 | MFM 18 | modbus | reconnecting | 0 | 1 | 19 | 502 | gw_1771051169012
22 | MFM 7 | modbus | reconnecting | 0 | 1 | 8 | 502 | gw_1771051169012
23 | Spare | modbus | reconnecting | 0 | 1 | 5 | 502 | gw_1771148626826
24 | MFM 15 | modbus | reconnecting | 0 | 1 | 16 | 502 | gw_1771051169012
25 | MFM 19 | modbus | reconnecting | 0 | 1 | 20 | 502 | gw_1771051169012
26 | MFM 8 | modbus | reconnecting | 0 | 1 | 9 | 502 | gw_1771051169012
27 | APFC Incomer | modbus | reconnecting | 0 | 1 | 2 | 502 | gw_1771148626826
28 | MFM 16 | modbus | reconnecting | 0 | 1 | 17 | 502 | gw_1771051169012
29 | MFM 2 | modbus | reconnecting | 0 | 1 | 3 | 502 | gw_1771051169012
30 | MFM 9 | modbus | reconnecting | 0 | 1 | 10 | 502 | gw_1771051169012
31 | Busduct Testing Machine | modbus | reconnecting | 0 | 1 | 2 | 502 | gw_1771148626826
32 | MFM 1 | modbus | reconnecting | 0 | 1 | 2 | 502 | gw_1771051169012