## Report
Schema ID | Field Key | Field Type | Unit | Scale | Description
sch_1770993251278 | voltage_r_n | REAL | V | 0 | Phase R to Neutral Voltage
sch_1770993251278 | voltage_y_n | REAL | V | 0 | Phase Y to Neutral Voltage
sch_1770993251278 | voltage_b_n | REAL | V | 0 | Phase B to Neutral Voltage
sch_1770993251278 | voltage_ry | REAL | V | 0 | Line Voltage R-Y
sch_1770993251278 | voltage_yb | REAL | V | 0 | Line Voltage Y-B
sch_1770993251278 | voltage_br | REAL | V | 0 | Line Voltage B-R
sch_1770993251278 | thd_voltage_r_pct | REAL | % | 0 | Total Harmonic Distortion - Phase R Voltage
sch_1770993251278 | thd_voltage_y_pct | REAL | % | 0 | Total Harmonic Distortion - Phase Y Voltage
sch_1770993251278 | thd_voltage_b_pct | REAL | % | 0 | Total Harmonic Distortion - Phase B Voltage
sch_1770993251278 | voltage_unbalance_pct | REAL | % | 0 | Voltage Unbalance Percentage
sch_1771148877234 | device1_temp | float | °C | 0 | Device 1 Temperature
sch_1771148877234 | device2_temp | float | °C | 0 | Device 2 Temperature
sch_1771148877234 | device3_temp | float | °C | 0 | Device 3 Temperature
sch_1771148877234 | device4_temp | float | °C | 0 | Device 4 Temperature
sch_1771148877234 | device5_temp | float | °C | 0 | Device 5 Temperature
sch_1771148877234 | device6_temp | float | °C | 0 | Device 6 Temperature
sch_1771148877234 | device7_temp | float | °C | 0 | Device 7 Temperature
sch_1771148877234 | device8_temp | float | °C | 0 | Device 8 Temperature
sch_1771148877234 | device9_temp | float | °C | 0 | Device 9 Temperature
sch_1771148877234 | device10_temp | float | °C | 0 | Device 10 Temperature
sch_1771148877234 | flip_bit | boolean |  | 0 | FlipBit coil
sch_1771159496669 | phase1_current | float | A | 1 | Phase 1 current
sch_1771159496669 | phase2_current | float | A | 1 | Phase 2 current
sch_1771159496669 | phase3_current | float | A | 1 | Phase 3 current
sch_1771159496669 | avg_current | float | A | 1 | Average value current
sch_1771159496669 | voltage_v12 | float | V | 1 | Voltage V12
sch_1771159496669 | voltage_v23 | float | V | 1 | Voltage V23
sch_1771159496669 | voltage_v31 | float | V | 1 | Voltage V31
sch_1771159496669 | avg_voltage_ll | float | V | 1 | Average value voltage (L-L)
sch_1771159496669 | voltage_v1n | float | V | 1 | Voltage V1N
sch_1771159496669 | voltage_v2n | float | V | 1 | Voltage V2N
sch_1771159496669 | voltage_v3n | float | V | 1 | Voltage V3N
sch_1771159496669 | pf_phase1 | float | % | 0.1 | Phase 1 power factor (x0.1%)
sch_1771159496669 | pf_phase2 | float | % | 0.1 | Phase 2 power factor (x0.1%)
sch_1771159496669 | pf_phase3 | float | % | 0.1 | Phase 3 power factor (x0.1%)
sch_1771159496669 | pf_total | float | % | 0.1 | Sum power factor (x0.1%)
sch_1771159496669 | frequency | float | Hz | 0.1 | Frequency (x0.1 Hz)
sch_1771159496669 | active_power_phase1 | float | kW | 1 | Phase 1 active power
sch_1771159496669 | active_power_phase2 | float | kW | 1 | Phase 2 active power
sch_1771159496669 | active_power_phase3 | float | kW | 1 | Phase 3 active power
sch_1771159496669 | active_power_total | float | kW | 1 | Sum active power
sch_1771159496669 | reactive_power_phase1 | float | kvar | 1 | Phase 1 reactive power
sch_1771159496669 | reactive_power_phase2 | float | kvar | 1 | Phase 2 reactive power
sch_1771159496669 | reactive_power_phase3 | float | kvar | 1 | Phase 3 reactive power
sch_1771159496669 | reactive_power_total | float | kvar | 1 | Sum reactive power
sch_1771159496669 | apparent_power_phase1 | float | kVA | 1 | Phase 1 apparent power
sch_1771159496669 | apparent_power_phase2 | float | kVA | 1 | Phase 2 apparent power
sch_1771159496669 | apparent_power_phase3 | float | kVA | 1 | Phase 3 apparent power
sch_1771159496669 | apparent_power_total | float | kVA | 1 | Sum apparent power
sch_1771159496669 | active_energy_import | float | kWh | 1 | Active energy import (kWh fixed)
sch_1771159496669 | active_energy_export | float | kWh | 1 | Active energy export (kWh fixed)
sch_1771159496669 | reactive_energy_import | float | kvarh | 1 | Reactive energy import (kvarh fixed)
sch_1771159496669 | reactive_energy_export | float | kvarh | 1 | Reactive energy export (kvarh fixed)
sch_1771159496669 | harmonics_voltage_v1n | float | V | 1 | Harmonics value V1N
sch_1771159496669 | harmonics_voltage_v2n | float | V | 1 | Harmonics value V2N
sch_1771159496669 | harmonics_voltage_v3n | float | V | 1 | Harmonics value V3N
sch_1771159496669 | harmonics_current_i1 | float | A | 1 | Harmonics value I1
sch_1771159496669 | harmonics_current_i2 | float | A | 1 | Harmonics value I2
sch_1771159496669 | harmonics_current_i3 | float | A | 1 | Harmonics value I3