Devices

| Id | Name | Protocol | Params Json | Status | Latency Ms | Last Error | Auto Reconnect | Unit Id | Port | Gateway Id |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MFM 20 | modbus | {"mac": "AA:BB:CC:D D:EE:21"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 21.0 | 502 | gw_1771075 949405 |
| 2 | Lighting | modbus | {} | connected | 21.0 |  | 1 | 9.0 | 502 | gw_17711589 28169 |
| 3 | MFM 10 | modbus | {"mac": "AA:BB:CC:D D:EE:11"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 11.0 | 502 | gw_17710511 69012 |
| 4 | Nexsine Production | modbus | {} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 4.0 | 502 | gw_17711486 26826 |
| 5 | MFM 3 | modbus | {"mac": "AA:BB:CC:D D:EE:04"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 4.0 | 502 | gw_17710511 69012 |
| 6 | MFM 11 | modbus | {"mac": "AA:BB:CC:D D:EE:12"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 12.0 | 502 | gw_17710511 69012 |
| 7 | PLC 1 | modbus | {"mac": "AA:BB:CC:D D:EE:01"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 1.0 | 502 | gw_17710511 69005 |
| 8 | MFM 4 | modbus | {"mac": "AA:BB:CC:D D:EE:05"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 5.0 | 502 | gw_17710511 69012 |
| 9 | Nexsine Incomer | modbus | {} | connected | 16.0 |  | 1 | 11.0 | 502 | gw_17711589 28169 |
| 10 | MFM 12 | modbus | {"mac": "AA:BB:CC:D D:EE:13"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 13.0 | 502 | gw_17710511 69012 |
| 11 | Modbus Device TEST | modbus | {} | connected | 16.0 |  | 1 | 1.0 | 5020 | gw_1771012 391581 |
| 12 | Server 1 | opcua | {} | reconnecting | 0.0 | [Errno -2] Name or | 1 | 0.0 | 4840 | gw_1771004 131086 |

| Id | Name | Protocol | Params Json | Status | Latency Ms | Last Error | Auto Reconnect | Unit Id | Port | Gateway Id |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | service not known |  |  |  |  |
| 13 | MFM 5 | modbus | {"mac": "AA:BB:CC:D D:EE:06"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 6.0 | 502 | gw_17710511 69012 |
| 14 | MFM 13 | modbus | {"mac": "AA:BB:CC:D D:EE:14"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 14.0 | 502 | gw_17710511 69012 |
| 15 | MFM 17 | modbus | {"mac": "AA:BB:CC:D D:EE:18"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 18.0 | 502 | gw_17710511 69012 |
| 16 | SN Production | modbus | {} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 6.0 | 502 | gw_17711486 26826 |
| 17 | MFM 6 | modbus | {"mac": "AA:BB:CC:D D:EE:07"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 7.0 | 502 | gw_17710511 69012 |
| 18 | Device 1 | modbus | {} | connected | 38.0 |  | 1 | 1.0 | 5020 | gw_17711486 26826 |
| 19 | MFM 14 | modbus | {"mac": "AA:BB:CC:D D:EE:15"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 15.0 | 502 | gw_17710511 69012 |
| 20 | SN Incomer | modbus | {} | connected | 33.0 |  | 1 | 12.0 | 502 | gw_17711589 28169 |
| 21 | MFM 18 | modbus | {"mac": "AA:BB:CC:D D:EE:19"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 19.0 | 502 | gw_17710511 69012 |
| 22 | MFM 7 | modbus | {"mac": "AA:BB:CC:D D:EE:08"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 8.0 | 502 | gw_17710511 69012 |
| 23 | Spare | modbus | {} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 5.0 | 502 | gw_17711486 26826 |

| Id | Name | Protocol | Params Json | Status | Latency Ms | Last Error | Auto Reconnect | Unit Id | Port | Gateway Id |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 24 | MFM 15 | modbus | {"mac": "AA:BB:CC:D D:EE:16"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 16.0 | 502 | gw_17710511 69012 |
| 25 | MFM 19 | modbus | {"mac": "AA:BB:CC:D D:EE:20"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 20.0 | 502 | gw_17710511 69012 |
| 26 | MFM 8 | modbus | {"mac": "AA:BB:CC:D D:EE:09"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 9.0 | 502 | gw_17710511 69012 |
| 27 | APFC Incomer | modbus | {} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 2.0 | 502 | gw_17711486 26826 |
| 28 | MFM 16 | modbus | {"mac": "AA:BB:CC:D D:EE:17"} | reconnecting | 0.0 |  | 1 | 17.0 | 502 | gw_17710511 69012 |
| 29 | MFM 2 | modbus | {"mac": "AA:BB:CC:D D:EE:03"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 3.0 | 502 | gw_17710511 69012 |
| 30 | MFM 9 | modbus | {"mac": "AA:BB:CC:D D:EE:10"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 10.0 | 502 | gw_17710511 69012 |
| 31 | Busduct Testing Machine | modbus | {} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 2.0 | 502 | gw_17711486 26826 |
| 32 | MFM 1 | modbus | {"mac": "AA:BB:CC:D D:EE:02"} | reconnecting | 0.0 | TCP_CONNE CT_FAILED | 1 | 2.0 | 502 | gw_17710511 69012 |