## Report
Id | Name | Protocol | Params Json | Status | Latency Ms | Last Error | Auto Reconnect | Unit Id | Port | Gateway Id
1 | MFM 20 | modbus | {"mac": "AA:BB:CC:DD:EE:21"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 21.0 | 502 | gw_1771075949405
2 | Lighting | modbus | {} | connected | 21.0 |  | 1 | 9.0 | 502 | gw_1771158928169
3 | MFM 10 | modbus | {"mac": "AA:BB:CC:DD:EE:11"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 11.0 | 502 | gw_1771051169012
4 | Nexsine Production | modbus | {} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 4.0 | 502 | gw_1771148626826
5 | MFM 3 | modbus | {"mac": "AA:BB:CC:DD:EE:04"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 4.0 | 502 | gw_1771051169012
6 | MFM 11 | modbus | {"mac": "AA:BB:CC:DD:EE:12"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 12.0 | 502 | gw_1771051169012
7 | PLC 1 | modbus | {"mac": "AA:BB:CC:DD:EE:01"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 1.0 | 502 | gw_1771051169005
8 | MFM 4 | modbus | {"mac": "AA:BB:CC:DD:EE:05"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 5.0 | 502 | gw_1771051169012
9 | Nexsine Incomer | modbus | {} | connected | 16.0 |  | 1 | 11.0 | 502 | gw_1771158928169
10 | MFM 12 | modbus | {"mac": "AA:BB:CC:DD:EE:13"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 13.0 | 502 | gw_1771051169012
11 | Modbus Device TEST | modbus | {} | connected | 16.0 |  | 1 | 1.0 | 5020 | gw_1771012391581
12 | Server 1 | opcua | {} | reconnecting | 0.0 | [Errno -2] Name or service not known | 1 | 0.0 | 4840 | gw_1771004131086
13 | MFM 5 | modbus | {"mac": "AA:BB:CC:DD:EE:06"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 6.0 | 502 | gw_1771051169012
14 | MFM 13 | modbus | {"mac": "AA:BB:CC:DD:EE:14"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 14.0 | 502 | gw_1771051169012
15 | MFM 17 | modbus | {"mac": "AA:BB:CC:DD:EE:18"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 18.0 | 502 | gw_1771051169012
16 | SN Production | modbus | {} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 6.0 | 502 | gw_1771148626826
17 | MFM 6 | modbus | {"mac": "AA:BB:CC:DD:EE:07"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 7.0 | 502 | gw_1771051169012
18 | Device 1 | modbus | {} | connected | 38.0 |  | 1 | 1.0 | 5020 | gw_1771148626826
19 | MFM 14 | modbus | {"mac": "AA:BB:CC:DD:EE:15"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 15.0 | 502 | gw_1771051169012
20 | SN Incomer | modbus | {} | connected | 33.0 |  | 1 | 12.0 | 502 | gw_1771158928169
21 | MFM 18 | modbus | {"mac": "AA:BB:CC:DD:EE:19"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 19.0 | 502 | gw_1771051169012
22 | MFM 7 | modbus | {"mac": "AA:BB:CC:DD:EE:08"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 8.0 | 502 | gw_1771051169012
23 | Spare | modbus | {} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 5.0 | 502 | gw_1771148626826
24 | MFM 15 | modbus | {"mac": "AA:BB:CC:DD:EE:16"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 16.0 | 502 | gw_1771051169012
25 | MFM 19 | modbus | {"mac": "AA:BB:CC:DD:EE:20"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 20.0 | 502 | gw_1771051169012
26 | MFM 8 | modbus | {"mac": "AA:BB:CC:DD:EE:09"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 9.0 | 502 | gw_1771051169012
27 | APFC Incomer | modbus | {} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 2.0 | 502 | gw_1771148626826
28 | MFM 16 | modbus | {"mac": "AA:BB:CC:DD:EE:17"} | reconnecting | 0.0 |  | 1 | 17.0 | 502 | gw_1771051169012
29 | MFM 2 | modbus | {"mac": "AA:BB:CC:DD:EE:03"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 3.0 | 502 | gw_1771051169012
30 | MFM 9 | modbus | {"mac": "AA:BB:CC:DD:EE:10"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 10.0 | 502 | gw_1771051169012
31 | Busduct Testing Machine | modbus | {} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 2.0 | 502 | gw_1771148626826
32 | MFM 1 | modbus | {"mac": "AA:BB:CC:DD:EE:02"} | reconnecting | 0.0 | TCP_CONNECT_FAILED | 1 | 2.0 | 502 | gw_1771051169012