## Report
ID | Name | Protocol | Status | Latency MS | Auto Reconnect | Unit ID | Port | Gateway ID | Last Error | Params JSON
1 | MFM 20 | modbus | reconnecting | 0.0 | 1 | 21 | 502 | gw_1771075949405 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:21"}
2 | Lighting | modbus | connected | 21.0 | 1 | 9 | 502 | gw_1771158928169 |  | {}
3 | MFM 10 | modbus | reconnecting | 0.0 | 1 | 11 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:11"}
4 | Nexsine Production | modbus | reconnecting | 0.0 | 1 | 4 | 502 | gw_1771148626826 | TCP_CONNECT_FAILED | {}
5 | MFM 3 | modbus | reconnecting | 0.0 | 1 | 4 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:04"}
6 | MFM 11 | modbus | reconnecting | 0.0 | 1 | 12 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:12"}
7 | PLC 1 | modbus | reconnecting | 0.0 | 1 | 1 | 502 | gw_1771051169005 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:01"}
8 | MFM 4 | modbus | reconnecting | 0.0 | 1 | 5 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:05"}
9 | Nexsine Incomer | modbus | connected | 16.0 | 1 | 11 | 502 | gw_1771158928169 |  | {}
10 | MFM 12 | modbus | reconnecting | 0.0 | 1 | 13 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:13"}
11 | Modbus Device TEST | modbus | connected | 16.0 | 1 | 1 | 5020 | gw_1771012391581 |  | {}
12 | Server 1 | opcua | reconnecting | 0.0 | 1 | 0 | 4840 | gw_1771004131086 | [Errno -2] Name or service not known | {}
13 | MFM 5 | modbus | reconnecting | 0.0 | 1 | 6 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:06"}
14 | MFM 13 | modbus | reconnecting | 0.0 | 1 | 14 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:14"}
15 | MFM 17 | modbus | reconnecting | 0.0 | 1 | 18 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:18"}
16 | SN Production | modbus | reconnecting | 0.0 | 1 | 6 | 502 | gw_1771148626826 | TCP_CONNECT_FAILED | {}
17 | MFM 6 | modbus | reconnecting | 0.0 | 1 | 7 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:07"}
18 | Device 1 | modbus | connected | 38.0 | 1 | 1 | 5020 | gw_1771148626826 |  | {}
19 | MFM 14 | modbus | reconnecting | 0.0 | 1 | 15 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:15"}
20 | SN Incomer | modbus | connected | 33.0 | 1 | 12 | 502 | gw_1771158928169 |  | {}
21 | MFM 18 | modbus | reconnecting | 0.0 | 1 | 19 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:19"}
22 | MFM 7 | modbus | reconnecting | 0.0 | 1 | 8 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:08"}
23 | Spare | modbus | reconnecting | 0.0 | 1 | 5 | 502 | gw_1771148626826 | TCP_CONNECT_FAILED | {}
24 | MFM 15 | modbus | reconnecting | 0.0 | 1 | 16 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:16"}
25 | MFM 19 | modbus | reconnecting | 0.0 | 1 | 20 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:20"}
26 | MFM 8 | modbus | reconnecting | 0.0 | 1 | 9 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:09"}
27 | APFC Incomer | modbus | reconnecting | 0.0 | 1 | 2 | 502 | gw_1771148626826 | TCP_CONNECT_FAILED | {}
28 | MFM 16 | modbus | reconnecting | 0.0 | 1 | 17 | 502 | gw_1771051169012 |  | {"mac": "AA:BB:CC:DD:EE:17"}
29 | MFM 2 | modbus | reconnecting | 0.0 | 1 | 3 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:03"}
30 | MFM 9 | modbus | reconnecting | 0.0 | 1 | 10 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:10"}
31 | Busduct Testing Machine | modbus | reconnecting | 0.0 | 1 | 2 | 502 | gw_1771148626826 | TCP_CONNECT_FAILED | {}
32 | MFM 1 | modbus | reconnecting | 0.0 | 1 | 2 | 502 | gw_1771051169012 | TCP_CONNECT_FAILED | {"mac": "AA:BB:CC:DD:EE:02"}