Schema Fields

| Schema Id | Key | Type | Unit | Scale | Desc Text |
| --- | --- | --- | --- | --- | --- |
| sch_1770993251278 | voltage_r_n | REAL | V | 0.0 | Phase R to Neutral Voltage |
| sch_1770993251278 | voltage_y_n | REAL | V | 0.0 | Phase Y to Neutral Voltage |
| sch_1770993251278 | voltage_b_n | REAL | V | 0.0 | Phase B to Neutral Voltage |
| sch_1770993251278 | voltage_ry | REAL | V | 0.0 | Line Voltage R-Y |
| sch_1770993251278 | voltage_yb | REAL | V | 0.0 | Line Voltage Y-B |
| sch_1770993251278 | voltage_br | REAL | V | 0.0 | Line Voltage B-R |
| sch_1770993251278 | thd_voltage_r_pct | REAL | % | 0.0 | Total Harmonic Distortion - Phase R Voltage |
| sch_1770993251278 | thd_voltage_y_pct | REAL | % | 0.0 | Total Harmonic Distortion - Phase Y Voltage |
| sch_1770993251278 | thd_voltage_b_pct | REAL | % | 0.0 | Total Harmonic Distortion - Phase B Voltage |
| sch_1770993251278 | voltage_unbalance_pct | REAL | % | 0.0 | Voltage Unbalance Percentage |
| sch_1771148877234 | device1_temp | float | °C | 0.0 | Device 1 Temperature |
| sch_1771148877234 | device2_temp | float | °C | 0.0 | Device 2 Temperature |
| sch_1771148877234 | device3_temp | float | °C | 0.0 | Device 3 Temperature |
| sch_1771148877234 | device4_temp | float | °C | 0.0 | Device 4 Temperature |
| sch_1771148877234 | device5_temp | float | °C | 0.0 | Device 5 Temperature |
| sch_1771148877234 | device6_temp | float | °C | 0.0 | Device 6 Temperature |
| sch_1771148877234 | device7_temp | float | °C | 0.0 | Device 7 Temperature |
| sch_1771148877234 | device8_temp | float | °C | 0.0 | Device 8 Temperature |
| sch_1771148877234 | device9_temp | float | °C | 0.0 | Device 9 Temperature |
| sch_1771148877234 | device10_temp | float | °C | 0.0 | Device 10 Temperature |
| sch_1771148877234 | flip_bit | boolean |  | 0.0 | FlipBit coil |
| sch_1771159496669 | phase1_current | float | A | 1.0 | Phase 1 current |

| Schema Id | Key | Type | Unit | Scale | Desc Text |
| --- | --- | --- | --- | --- | --- |
| sch_1771159496669 | phase2_current | float | A | 1.0 | Phase 2 current |
| sch_1771159496669 | phase3_current | float | A | 1.0 | Phase 3 current |
| sch_1771159496669 | avg_current | float | A | 1.0 | Average value current |
| sch_1771159496669 | voltage_v12 | float | V | 1.0 | Voltage V12 |
| sch_1771159496669 | voltage_v23 | float | V | 1.0 | Voltage V23 |
| sch_1771159496669 | voltage_v31 | float | V | 1.0 | Voltage V31 |
| sch_1771159496669 | avg_voltage_ll | float | V | 1.0 | Average value voltage (L-L) |
| sch_1771159496669 | voltage_v1n | float | V | 1.0 | Voltage V1N |
| sch_1771159496669 | voltage_v2n | float | V | 1.0 | Voltage V2N |
| sch_1771159496669 | voltage_v3n | float | V | 1.0 | Voltage V3N |
| sch_1771159496669 | pf_phase1 | float | % | 0.1 | Phase 1 power factor (x0.1%) |
| sch_1771159496669 | pf_phase2 | float | % | 0.1 | Phase 2 power factor (x0.1%) |
| sch_1771159496669 | pf_phase3 | float | % | 0.1 | Phase 3 power factor (x0.1%) |
| sch_1771159496669 | pf_total | float | % | 0.1 | Sum power factor (x0.1%) |

| Schema Id | Key | Type | Unit | Scale | Desc Text |
| --- | --- | --- | --- | --- | --- |
| sch_1771159496669 | frequency | float | Hz | 0.1 | Frequency (x0.1 Hz) |
| sch_1771159496669 | active_power_phase1 | float | kW | 1.0 | Phase 1 active power |
| sch_1771159496669 | active_power_phase2 | float | kW | 1.0 | Phase 2 active power |
| sch_1771159496669 | active_power_phase3 | float | kW | 1.0 | Phase 3 active power |
| sch_1771159496669 | active_power_total | float | kW | 1.0 | Sum active power |
| sch_1771159496669 | reactive_power_phase1 | float | kvar | 1.0 | Phase 1 reactive power |
| sch_1771159496669 | reactive_power_phase2 | float | kvar | 1.0 | Phase 2 reactive power |
| sch_1771159496669 | reactive_power_phase3 | float | kvar | 1.0 | Phase 3 reactive power |
| sch_1771159496669 | reactive_power_total | float | kvar | 1.0 | Sum reactive power |
| sch_1771159496669 | apparent_power_phase1 | float | kVA | 1.0 | Phase 1 apparent power |
| sch_1771159496669 | apparent_power_phase2 | float | kVA | 1.0 | Phase 2 apparent power |
| sch_1771159496669 | apparent_power_phase3 | float | kVA | 1.0 | Phase 3 apparent power |
| sch_1771159496669 | apparent_power_total | float | kVA | 1.0 | Sum apparent power |
| sch_1771159496669 | active_energy_import | float | kWh | 1.0 | Active energy import (kWh fixed) |
| sch_1771159496669 | active_energy_export | float | kWh | 1.0 | Active energy export (kWh fixed) |
| sch_1771159496669 | reactive_energy_import | float | kvarh | 1.0 | Reactive energy import (kvarh fixed) |
| sch_1771159496669 | reactive_energy_export | float | kvarh | 1.0 | Reactive energy export (kvarh fixed) |
| sch_1771159496669 | harmonics_voltage_v1n | float | V | 1.0 | Harmonics value V1N |
| sch_1771159496669 | harmonics_voltage_v2n | float | V | 1.0 | Harmonics value V2N |
| sch_1771159496669 | harmonics_voltage_v3n | float | V | 1.0 | Harmonics value V3N |
| sch_1771159496669 | harmonics_current_i1 | float | A | 1.0 | Harmonics value I1 |
| sch_1771159496669 | harmonics_current_i2 | float | A | 1.0 | Harmonics value I2 |
| sch_1771159496669 | harmonics_current_i3 | float | A | 1.0 | Harmonics value I3 |